## Carrier
Carrier | co2_emissions | color | nice_name | max_growth | max_relative_growth
AC | 0 | #70af1d | AC | inf | 0
DC | 0 | #8a1caf | DC | inf | 0
biomass | 0 | #baa741 | biomass | inf | 0
geothermal | 0.12 | #ba91b1 | geothermal | inf | 0
CCGT | 0.198 | #a85522 | Combined-Cycle Gas | inf | 0
coal | 0.3361 | #545454 | coal | inf | 0
oil | 0.2571 | #c9c9c9 | oil | inf | 0
hydro | 0 | #298c81 | Reservoir & Dam | inf | 0
offwind-float | 0 | #b5e2fa | Offshore Wind (Floating) | inf | 0
solar | 0 | #f9d002 | Solar | inf | 0
onwind | 0 | #235ebc | Onshore Wind | inf | 0
solar-hsat | 0 | #fdb915 | solar-hsat | inf | 0
offwind-ac | 0 | #6895dd | Offshore Wind (AC) | inf | 0
offwind-dc | 0 | #74c6f2 | Offshore Wind (DC) | inf | 0
PHS | 0 | #51dbcc | Pumped Hydro Storage | inf | 0
ror | 0 | #3dbfb0 | Run of River | inf | 0
battery | 0 | #ace37f | Battery Storage | inf | 0
H2 | 0 | #bf13a0 | Hydrogen Storage | inf | 0
battery charger | 0 | #88a75b | battery charger | inf | 0
battery discharger | 0 | #5d4e29 | battery discharger | inf | 0
| 0 |  |  | inf | 0
H2 electrolysis | 0 | #ff29d9 | H2 electrolysis | inf | 0
H2 fuel cell | 0 | #c251ae | H2 fuel cell | inf | 0

## Bus
Bus | v_nom | type | x | y | carrier | unit | location | v_mag_pu_set | v_mag_pu_min | v_mag_pu_max | control | generator | sub_network | substation_off | country | substation_lv
IT0 0 | 380 |  | 13.8741 | 41.5562 | AC |  |  | 1 | 0 | inf | Slack |  |  | IT | 1 | 1
IT0 1 | 380 |  | 8.7419 | 45.2317 | AC |  |  | 1 | 0 | inf | PQ |  |  | IT | 1 | 1
IT0 2 | 380 |  | 11.3976 | 45.4943 | AC |  |  | 1 | 0 | inf | PQ |  |  | IT | 1 | 1
IT0 3 | 380 |  | 15.6296 | 39.1771 | AC |  |  | 1 | 0 | inf | PQ |  |  | IT | 1 | 1
IT1 0 | 380 |  | 8.7398 | 40.0329 | AC |  |  | 1 | 0 | inf | Slack |  |  | IT | 1 | 1
IT0 0 H2 | 1 |  | 13.8741 | 41.5562 | H2 |  | IT0 0 | 1 | 0 | inf | PQ |  |  | IT
IT0 1 H2 | 1 |  | 8.7419 | 45.2317 | H2 |  | IT0 1 | 1 | 0 | inf | PQ |  |  | IT
IT0 2 H2 | 1 |  | 11.3976 | 45.4943 | H2 |  | IT0 2 | 1 | 0 | inf | PQ |  |  | IT
IT0 3 H2 | 1 |  | 15.6296 | 39.1771 | H2 |  | IT0 3 | 1 | 0 | inf | PQ |  |  | IT
IT1 0 H2 | 1 |  | 8.7398 | 40.0329 | H2 |  | IT1 0 | 1 | 0 | inf | PQ |  |  | IT
IT0 0 battery | 1 |  | 13.8741 | 41.5562 | battery |  | IT0 0 | 1 | 0 | inf | PQ |  |  | IT
IT0 1 battery | 1 |  | 8.7419 | 45.2317 | battery |  | IT0 1 | 1 | 0 | inf | PQ |  |  | IT
IT0 2 battery | 1 |  | 11.3976 | 45.4943 | battery |  | IT0 2 | 1 | 0 | inf | PQ |  |  | IT
IT0 3 battery | 1 |  | 15.6296 | 39.1771 | battery |  | IT0 3 | 1 | 0 | inf | PQ |  |  | IT
IT1 0 battery | 1 |  | 8.7398 | 40.0329 | battery |  | IT1 0 | 1 | 0 | inf | PQ |  |  | IT

## Load
Load | bus | carrier | type | p_set | q_set | sign | active
IT0 0 | IT0 0 |  |  | 0 | 0 | -1 | True
IT0 1 | IT0 1 |  |  | 0 | 0 | -1 | True
IT0 2 | IT0 2 |  |  | 0 | 0 | -1 | True
IT0 3 | IT0 3 |  |  | 0 | 0 | -1 | True
IT1 0 | IT1 0 |  |  | 0 | 0 | -1 | True

## Line
Line | bus0 | bus1 | type | x | r | g | b | s_nom | s_nom_mod | s_nom_extendable | s_nom_min | s_nom_max | s_nom_set | s_max_pu | capital_cost | active | build_year | lifetime | length | carrier | terrain_factor | num_parallel | v_ang_min | v_ang_max | sub_network | x_pu | r_pu | g_pu | b_pu | x_pu_eff | r_pu_eff | s_nom_opt | v_nom | dc | i_nom
0 | IT0 0 | IT0 2 | Al/St 240/40 4-bundle 380.0 | 23.6752 | 2.8872 | 0 | 0.010431 | 8490.5131 | 0 | True | 8490.5131 | 28490.5131 |  | 0.7 | 20214.0993 | True | 0 | inf | 481.2025 | AC | 1 | 5 | #NAME? | inf |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0 | 2.58
1 | IT0 0 | IT0 3 | Al/St 240/40 4-bundle 380.0 | 11.2524 | 1.5174 | 0 | 0.0089619 | 9473.6251 | 0 | True | 9473.6251 | 29473.6251 |  | 0.7 | 12748.1955 | True | 0 | inf | 303.4745 | AC | 1 | 5.5789 | #NAME? | inf |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0 | 2.58
2 | IT0 0 | IT0 3 | Al/St 240/40 4-bundle 380.0 | 0 | 0 | 0 | 0 | 3396.21 | 0 | True | 3396.21 | 23396.21 |  | 0.7 | 12748.1955 | True | 2024 | inf | 303.4745 | AC | 1 | 2 | #NAME? | inf |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 |  | 2.58
3 | IT0 0 | IT0 3 | Al/St 240/40 4-bundle 380.0 | 0 | 0 | 0 | 0 | 3396.21 | 0 | True | 3396.21 | 23396.21 |  | 0.7 | 12748.1955 | True | 2030 | inf | 303.4745 | AC | 1 | 2 | #NAME? | inf |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 |  | 2.58
4 | IT0 1 | IT0 2 | Al/St 240/40 4-bundle 380.0 | 3.5013 | 0.50285 | 0 | 0.013935 | 18723.8156 | 0 | True | 18723.8156 | 38723.8156 |  | 0.7 | 8801.3616 | True | 0 | inf | 209.5189 | AC | 1 | 11.0263 | #NAME? | inf |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0 | 2.58

## Generator
Generator | bus | control | type | p_nom | p_nom_mod | p_nom_extendable | p_nom_min | p_nom_max | p_nom_set | p_min_pu | p_max_pu | p_set | e_sum_min | e_sum_max | q_set | sign | carrier | marginal_cost | marginal_cost_quadratic | active | build_year | lifetime | capital_cost | efficiency | committable | start_up_cost | shut_down_cost | stand_by_cost | min_up_time | min_down_time | up_time_before | down_time_before | ramp_limit_up | ramp_limit_down | ramp_limit_start_up | ramp_limit_shut_down | weight | p_nom_opt
IT0 0 CCGT | IT0 0 | PQ |  | 9921.42 | 0 | True | 9921.42 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | CCGT | 49.6294 | 0 | True | 0 | inf | 100158.9982 | 0.55419 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 biomass | IT0 0 | PQ |  | 72 | 0 | False | 72 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | biomass | 15.8282 | 0 | True | 0 | inf | 294201.0512 | 0.468 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 coal | IT0 0 | PQ |  | 1963.7257 | 0 | False | 1963.7257 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | coal | 30.0988 | 0 | True | 0 | inf | 337208.0274 | 0.356 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 geothermal | IT0 0 | PQ |  | 59 | 0 | False | 59 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | geothermal | 0 | 0 | True | 0 | inf | 0 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 CCGT | IT0 1 | PQ |  | 11318.7 | 0 | True | 11318.7 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | CCGT | 58.7962 | 0 | True | 0 | inf | 100158.9982 | 0.52538 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 biomass | IT0 1 | PQ |  | 35 | 0 | False | 35 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | biomass | 15.8282 | 0 | True | 0 | inf | 294201.0512 | 0.468 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 coal | IT0 1 | PQ |  | 553.1622 | 0 | False | 553.1622 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | coal | 30.0988 | 0 | True | 0 | inf | 337208.0274 | 0.356 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 CCGT | IT0 2 | PQ |  | 9649.9 | 0 | True | 9649.9 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | CCGT | 45.5752 | 0 | True | 0 | inf | 100158.9982 | 0.59464 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 biomass | IT0 2 | PQ |  | 81 | 0 | False | 81 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | biomass | 15.8282 | 0 | True | 0 | inf | 294201.0512 | 0.468 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 coal | IT0 2 | PQ |  | 1209.5813 | 0 | False | 1209.5813 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | coal | 30.0988 | 0 | True | 0 | inf | 337208.0274 | 0.356 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 CCGT | IT0 3 | PQ |  | 9024.5 | 0 | True | 9024.5 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | CCGT | 52.8248 | 0 | True | 0 | inf | 100158.9982 | 0.56493 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 coal | IT0 3 | PQ |  | 2415.4748 | 0 | False | 2415.4748 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | coal | 30.0988 | 0 | True | 0 | inf | 337208.0274 | 0.356 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 biomass | IT1 0 | PQ |  | 36 | 0 | False | 36 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | biomass | 15.8282 | 0 | True | 0 | inf | 294201.0512 | 0.468 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 coal | IT1 0 | PQ |  | 1133.9825 | 0 | False | 1133.9825 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | coal | 30.0988 | 0 | True | 0 | inf | 337208.0274 | 0.356 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 oil | IT1 0 | PQ |  | 150 | 0 | False | 150 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | oil | 157.5239 | 0 | True | 0 | inf | 39078.2805 | 0.35 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 solar-hsat | IT0 0 | PQ |  | 0 | 0 | True | 0 | 161421.6926 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar-hsat | 0.01 | 0 | True | 0 | 40 | 35441.6758 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 0 solar-hsat | IT0 1 | PQ |  | 0 | 0 | True | 0 | 108664.622 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar-hsat | 0.01 | 0 | True | 0 | 40 | 35441.6758 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 solar-hsat | IT0 2 | PQ |  | 0 | 0 | True | 0 | 169922.1759 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar-hsat | 0.01 | 0 | True | 0 | 40 | 35441.6758 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 solar-hsat | IT0 3 | PQ |  | 0 | 0 | True | 0 | 190075.927 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar-hsat | 0.01 | 0 | True | 0 | 40 | 35441.6758 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 0 solar-hsat | IT1 0 | PQ |  | 0 | 0 | True | 0 | 33849.7888 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar-hsat | 0.01 | 0 | True | 0 | 40 | 35441.6758 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 solar | IT0 0 | PQ |  | 6036.4445 | 0 | True | 6036.4445 | 185835.3571 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar | 0.01 | 0 | True | 0 | 40 | 29345.7963 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 0 solar | IT0 1 | PQ |  | 2825.7933 | 0 | True | 2825.7933 | 125099.2263 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar | 0.01 | 0 | True | 0 | 40 | 29345.7963 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 solar | IT0 2 | PQ |  | 4528.9579 | 0 | True | 4528.9579 | 195621.4666 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar | 0.01 | 0 | True | 0 | 40 | 29345.7963 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 solar | IT0 3 | PQ |  | 6192.1685 | 0 | True | 6192.1685 | 218823.3019 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar | 0.01 | 0 | True | 0 | 40 | 29345.7963 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 0 solar | IT1 0 | PQ |  | 1281.9108 | 0 | True | 1281.9108 | 38969.2828 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | solar | 0.01 | 0 | True | 0 | 40 | 29345.7963 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 offwind-ac | IT0 0 | PQ |  | 0 | 0 | True | 0 | 15849.3556 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-ac | 0.015 | 0 | True | 0 | 30 | 184628.9669 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 0 offwind-ac | IT0 1 | PQ |  | 0 | 0 | True | 0 | 1695.6982 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-ac | 0.015 | 0 | True | 0 | 30 | 183540.506 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 offwind-ac | IT0 2 | PQ |  | 0 | 0 | True | 0 | 11403.5551 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-ac | 0.015 | 0 | True | 0 | 30 | 184959.7172 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 offwind-ac | IT0 3 | PQ |  | 30 | 0 | True | 30 | 14590.5299 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-ac | 0.015 | 0 | True | 0 | 30 | 183717.6197 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 0 offwind-ac | IT1 0 | PQ |  | 0 | 0 | True | 0 | 6734.7907 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-ac | 0.015 | 0 | True | 0 | 30 | 183097.2822 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 onwind | IT0 0 | PQ |  | 2762.5753 | 0 | True | 2762.5753 | 117723.0393 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | onwind | 0.015 | 0 | True | 0 | 30 | 94128.9699 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 0 onwind | IT0 1 | PQ |  | 87.9994 | 0 | True | 87.9994 | 89462.3102 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | onwind | 0.015 | 0 | True | 0 | 30 | 94128.9699 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 onwind | IT0 2 | PQ |  | 196.5019 | 0 | True | 196.5019 | 117218.7355 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | onwind | 0.015 | 0 | True | 0 | 30 | 94128.9699 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 onwind | IT0 3 | PQ |  | 6359.9195 | 0 | True | 6359.9195 | 131346.195 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | onwind | 0.015 | 0 | True | 0 | 30 | 94128.9699 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 0 onwind | IT1 0 | PQ |  | 1272.4638 | 0 | True | 1272.4638 | 47449.7558 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | onwind | 0.015 | 0 | True | 0 | 30 | 94128.9699 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 offwind-float | IT0 0 | PQ |  | 0 | 0 | True | 0 | 39095.6975 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-float | 0.015 | 0 | True | 0 | 30 | 220868.1519 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 1 0 offwind-float | IT0 1 | PQ |  | 0 | 0 | True | 0 | 6619.558 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-float | 0.015 | 0 | True | 0 | 30 | 218432.2922 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 offwind-float | IT0 2 | PQ |  | 0 | 0 | True | 0 | 11446.0599 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-float | 0.015 | 0 | True | 0 | 30 | 224040.2809 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 offwind-float | IT0 3 | PQ |  | 0 | 0 | True | 0 | 76674.2594 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-float | 0.015 | 0 | True | 0 | 30 | 230422.9491 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT1 0 0 offwind-float | IT1 0 | PQ |  | 0 | 0 | True | 0 | 26540.0834 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-float | 0.015 | 0 | True | 0 | 30 | 219693.556 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 0 offwind-dc | IT0 0 | PQ |  | 0 | 0 | True | 0 | 1106.8878 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-dc | 0.015 | 0 | True | 0 | 30 | 206129.6435 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 2 0 offwind-dc | IT0 2 | PQ |  | 0 | 0 | True | 0 | 2181.1296 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-dc | 0.015 | 0 | True | 0 | 30 | 204891.8689 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 3 0 offwind-dc | IT0 3 | PQ |  | 0 | 0 | True | 0 | 1428.7537 |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | offwind-dc | 0.015 | 0 | True | 0 | 30 | 242204.8927 | 1 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1 | 0
IT0 0 ror | IT0 0 | PQ |  | 1112 | 0 | False | 0 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | ror | 0 | 0 | True | 0 | inf | 308170.3719 | 0.9 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 1112 | 0
IT0 1 ror | IT0 1 | PQ |  | 2439.48 | 0 | False | 0 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | ror | 0 | 0 | True | 0 | inf | 308170.3719 | 0.9 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 2439.48 | 0
IT0 2 ror | IT0 2 | PQ |  | 3281.06 | 0 | False | 0 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | ror | 0 | 0 | True | 0 | inf | 308170.3719 | 0.9 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 3281.06 | 0
IT0 3 ror | IT0 3 | PQ |  | 652 | 0 | False | 0 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | ror | 0 | 0 | True | 0 | inf | 308170.3719 | 0.9 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 652 | 0
IT1 0 ror | IT1 0 | PQ |  | 60 | 0 | False | 0 | inf |  | 0 | 1 |  | #NAME? | inf | 0 | 1 | ror | 0 | 0 | True | 0 | inf | 308170.3719 | 0.9 | False | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 60 | 0

## Link
Link | bus0 | bus1 | type | carrier | efficiency | active | build_year | lifetime | p_nom | p_nom_mod | p_nom_extendable | p_nom_min | p_nom_max | p_nom_set | p_set | p_min_pu | p_max_pu | capital_cost | marginal_cost | marginal_cost_quadratic | stand_by_cost | length | terrain_factor | committable | start_up_cost | shut_down_cost | min_up_time | min_down_time | up_time_before | down_time_before | ramp_limit_up | ramp_limit_down | ramp_limit_start_up | ramp_limit_shut_down | p_nom_opt | dc | under_construction | project_status | voltage | tags | geometry | underwater_fraction | underground | end_line_idx
relation/8185711-500-DC | IT1 0 | IT0 0 |  | DC | 1 | True | 0 | inf | 1000 | 0 | True | 1000 | 31000 |  |  | -1 | 1 | 51834.5527 | 0 | 0 | 0 | 464.1181 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 | 1 | 0 |  | 500 | relation/8185711 | LINESTRING (8.306507186431089 40.84110865715793, 8.3065975 40.8410218, 8.3076221 40.8404009, 8.3106852 40.8424889, 8.3135283 40.8447798, 8.3138102 40.8452217, 8.3336448 40.8763037, 8.3547585 40.919545, 8.3629986 40.9246682, 8.438959 40.9365347, 8.4637641 40.9377018, 8.4968945 40.9423702, 8.578777 40.9519001, 8.6672684 40.9695948, 8.7741276 41.0055206, 8.7916373 41.0131954, 8.8120433 41.0387725, 8.8171498 41.1805441, 8.9698212 41.2809838, 10.4425021 41.516806, 12.771601 41.3438287, 12.8105575 41.4138493, 12.8113675 41.429471, 12.8075105 41.4306293, 12.806985991114674 41.42980383291617) | 0.96184 | 1 | 2
TYNDP2024_1157 | IT0 1 | IT0 0 |  | DC | 1 | True | 2030 | inf | 0 | 0 | True | 0 | 30000 |  |  | 0 | 1 | 40200.711 | 0 | 0 | 0 | 581.9895 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 |  | 1 | in_permitting |  | {name:HG North Tyrrhenian Corridor,url:{name:TYNDP2024_1157,url:https://eepublicdownloads.blob.core.windows.net/public-cdn-container/tyndp-documents/TYNDP2024/240220_TYNDP2024_project_portfolio.xlsx}} | LINESTRING (9.409 45.553, 12.015 42.244) | 0 |  | 3
TYNDP2024_1166 | IT0 2 | IT0 0 |  | DC | 1 | True | 2036 | inf | 0 | 0 | True | 0 | 30000 |  |  | 0 | 1 | 41866.6452 | 0 | 0 | 0 | 481.2025 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 |  | 1 | in_permitting |  | {name:HG Adriatic Corridor,url:{name:TYNDP2024_1166,url:https://eepublicdownloads.blob.core.windows.net/public-cdn-container/tyndp-documents/TYNDP2024/240220_TYNDP2024_project_portfolio.xlsx}} | LINESTRING (11.661 44.855, 15.55 41.513) | 0.33 |  | 0
TYNDP2024_1168 | IT0 3 | IT0 0 |  | DC | 1 | True | 2035 | inf | 0 | 0 | True | 0 | 30000 |  |  | 0 | 1 | 34363.9568 | 0 | 0 | 0 | 303.4745 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 |  | 1 | in_permitting |  | {name:HG Ionian-Tyrrhenian Corridor,url:{name:TYNDP2024_1168,url:https://eepublicdownloads.blob.core.windows.net/public-cdn-container/tyndp-documents/TYNDP2024/240220_TYNDP2024_project_portfolio.xlsx}} | LINESTRING (16.629 39.568, 12.779 41.43) | 0.52 |  | 1
IT0 0 H2 Electrolysis | IT0 0 | IT0 0 H2 |  | H2 electrolysis | 0.6994 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 125810.5172 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 | [8 empty] | 4
IT0 1 H2 Electrolysis | IT0 1 | IT0 1 H2 |  | H2 electrolysis | 0.6994 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 125810.5172 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 | [8 empty] | 5
IT0 2 H2 Electrolysis | IT0 2 | IT0 2 H2 |  | H2 electrolysis | 0.6994 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 125810.5172 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 | [8 empty] | 0
IT0 3 H2 Electrolysis | IT0 3 | IT0 3 H2 |  | H2 electrolysis | 0.6994 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 125810.5172 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0 | [8 empty] | 1
IT1 0 H2 Electrolysis | IT1 0 | IT1 0 H2 |  | H2 electrolysis | 0.6994 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 125810.5172 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 0 H2 Fuel Cell | IT0 0 H2 | IT0 0 |  | H2 fuel cell | 0.5 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 81431.2134 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 1 H2 Fuel Cell | IT0 1 H2 | IT0 1 |  | H2 fuel cell | 0.5 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 81431.2134 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 2 H2 Fuel Cell | IT0 2 H2 | IT0 2 |  | H2 fuel cell | 0.5 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 81431.2134 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 3 H2 Fuel Cell | IT0 3 H2 | IT0 3 |  | H2 fuel cell | 0.5 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 81431.2134 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT1 0 H2 Fuel Cell | IT1 0 H2 | IT1 0 |  | H2 fuel cell | 0.5 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 81431.2134 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 0 battery charger | IT0 0 | IT0 0 battery |  | battery charger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 9658.4902 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 1 battery charger | IT0 1 | IT0 1 battery |  | battery charger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 9658.4902 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 2 battery charger | IT0 2 | IT0 2 battery |  | battery charger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 9658.4902 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 3 battery charger | IT0 3 | IT0 3 battery |  | battery charger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 9658.4902 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT1 0 battery charger | IT1 0 | IT1 0 battery |  | battery charger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 9658.4902 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 0 battery discharger | IT0 0 battery | IT0 0 |  | battery discharger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 1 battery discharger | IT0 1 battery | IT0 1 |  | battery discharger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 2 battery discharger | IT0 2 battery | IT0 2 |  | battery discharger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT0 3 battery discharger | IT0 3 battery | IT0 3 |  | battery discharger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0
IT1 0 battery discharger | IT1 0 battery | IT1 0 |  | battery discharger | 0.9798 | True | 0 | inf | 0 | 0 | True | 0 | inf |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | False | 0 | 0 | 0 | 0 | 1 | 0 |  |  | 1 | 1 | 0

## StorageUnit
StorageUnit | bus | control | type | p_nom | p_nom_mod | p_nom_extendable | p_nom_min | p_nom_max | p_nom_set | p_min_pu | p_max_pu | p_set | q_set | p_dispatch_set | p_store_set | sign | carrier | spill_cost | marginal_cost | marginal_cost_quadratic | marginal_cost_storage | capital_cost | active | build_year | lifetime | state_of_charge_initial | state_of_charge_initial_per_period | state_of_charge_set | cyclic_state_of_charge | cyclic_state_of_charge_per_period | max_hours | efficiency_store | efficiency_dispatch | standing_loss | inflow | p_nom_opt
IT0 0 PHS | IT0 0 | PQ |  | 1816 | 0 | False | 0 | inf |  | -1 | 1 |  | 0 |  |  | 1 | PHS | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 90.7902 | 0.86603 | 0.86603 | 0 | 0 | 0
IT0 1 PHS | IT0 1 | PQ |  | 2282.9 | 0 | False | 0 | inf |  | -1 | 1 |  | 0 |  |  | 1 | PHS | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 15.8926 | 0.86603 | 0.86603 | 0 | 0 | 0
IT0 2 PHS | IT0 2 | PQ |  | 2653 | 0 | False | 0 | inf |  | -1 | 1 |  | 0 |  |  | 1 | PHS | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 66.603 | 0.86603 | 0.86603 | 0 | 0 | 0
IT0 3 PHS | IT0 3 | PQ |  | 580 | 0 | False | 0 | inf |  | -1 | 1 |  | 0 |  |  | 1 | PHS | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 6.8966 | 0.86603 | 0.86603 | 0 | 0 | 0
IT1 0 PHS | IT1 0 | PQ |  | 240 | 0 | False | 0 | inf |  | -1 | 1 |  | 0 |  |  | 1 | PHS | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 39.7073 | 0.86603 | 0.86603 | 0 | 0 | 0
IT0 0 hydro | IT0 0 | PQ |  | 213 | 0 | False | 0 | inf |  | 0 | 1 |  | 0 |  |  | 1 | hydro | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 1883.2841 | 0 | 0.9 | 0 | 0 | 0
IT0 1 hydro | IT0 1 | PQ |  | 1490.2 | 0 | False | 0 | inf |  | 0 | 1 |  | 0 |  |  | 1 | hydro | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 1883.2841 | 0 | 0.9 | 0 | 0 | 0
IT0 2 hydro | IT0 2 | PQ |  | 1886.6 | 0 | False | 0 | inf |  | 0 | 1 |  | 0 |  |  | 1 | hydro | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 1883.2841 | 0 | 0.9 | 0 | 0 | 0
IT0 3 hydro | IT0 3 | PQ |  | 527 | 0 | False | 0 | inf |  | 0 | 1 |  | 0 |  |  | 1 | hydro | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 1883.2841 | 0 | 0.9 | 0 | 0 | 0
IT1 0 hydro | IT1 0 | PQ |  | 78 | 0 | False | 0 | inf |  | 0 | 1 |  | 0 |  |  | 1 | hydro | 0 | 0 | 0 | 0 | 182698.7346 | True | 0 | inf | 0 | False |  | True | False | 1883.2841 | 0 | 0.9 | 0 | 0 | 0

## Store
Store | bus | type | carrier | e_nom | e_nom_mod | e_nom_extendable | e_nom_min | e_nom_max | e_nom_set | e_min_pu | e_max_pu | e_initial | e_initial_per_period | e_cyclic | e_cyclic_per_period | p_set | q_set | e_set | sign | marginal_cost | marginal_cost_quadratic | marginal_cost_storage | capital_cost | standing_loss | active | build_year | lifetime | e_nom_opt
IT0 0 H2 | IT0 0 H2 |  | H2 | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 89.4301 | 0 | True | 0 | inf | 0
IT0 1 H2 | IT0 1 H2 |  | H2 | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 89.4301 | 0 | True | 0 | inf | 0
IT0 2 H2 | IT0 2 H2 |  | H2 | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 89.4301 | 0 | True | 0 | inf | 0
IT0 3 H2 | IT0 3 H2 |  | H2 | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 89.4301 | 0 | True | 0 | inf | 0
IT1 0 H2 | IT1 0 H2 |  | H2 | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 89.4301 | 0 | True | 0 | inf | 0
IT0 0 battery | IT0 0 battery |  | battery | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 6427.1686 | 0 | True | 0 | inf | 0
IT0 1 battery | IT0 1 battery |  | battery | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 6427.1686 | 0 | True | 0 | inf | 0
IT0 2 battery | IT0 2 battery |  | battery | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 6427.1686 | 0 | True | 0 | inf | 0
IT0 3 battery | IT0 3 battery |  | battery | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 6427.1686 | 0 | True | 0 | inf | 0
IT1 0 battery | IT1 0 battery |  | battery | 0 | 0 | True | 0 | inf |  | 0 | 1 | 0 | False | True | False |  | 0 |  | 1 | 0 | 0 | 0 | 6427.1686 | 0 | True | 0 | inf | 0